## Report
Service address | Rate plan | Bill start date | Bill end date | Billing days | Billed amount | Total Due | Total kWh | Solar Production | Solar Used | Solar Exported | Total Usage | Prior Usage | % Difference | PV Watts | SE Production
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Jan |  |  |  | 1786 | From APS | #VALUE! | Total Elec Sold | #VALUE! |  | #VALUE! |  | If Requested
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Feb |  |  |  | 1481 |  | 0 |  | 1481 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Mar |  |  |  | 1573 |  | 0 |  | 1573 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Apr |  |  |  | 1759 |  | 0 |  | 1759 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | May |  |  |  | 2175 |  | 0 |  | 2175 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Jun |  |  |  | 2959 |  | 0 |  | 2959 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Jul |  |  |  | 4006 |  | 0 |  | 4006 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Aug |  |  |  | 3951 |  | 0 |  | 3951 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Sep |  |  |  | 3372 |  | 0 |  | 3372 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Oct |  |  |  | 2590 |  | 0 |  | 2590 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Nov |  |  |  | 1980 |  | 0 |  | 1980 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 |  |  | Dec |  |  |  | 1761 |  | 0 |  | 1761 |  | #DIV/0!
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 | Saver Choice | 2020-09-04 | 2020-09-10 | 6 | 103.83 | 566.22 | 795 | 135.288 | 72.288 | 63 | 867.288 | 761.4194 | 13.9% | 526.9922
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 | Saver Choice | 2020-09-10 | 2020-10-09 | 29 | 217.02 | 215.54 | 2079 | 2551.7256 | 1392.7256 | 1159 | 3471.7256 | 3372 | 2.957% | 2502.1245
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 | Saver Choice | 2020-10-09 | 2020-11-09 | 31 | 112.1 | 111.62 | 1663 | 2303.5152 | 842.5152 | 1461 | 2505.5152 | 2590 | -3.262% | 2375.5672
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 | Saver Choice | 2020-11-09 | 2020-12-09 | 30 | 49.77 | 49.29 | 1356 | 1975.0884 | 425.0884 | 1550 | 1781.0884 | 1980 | -10.05% | 1982.9713
13444 W ORANGE CT, LITCHFIELD PARK, AZ, 85340-6309 | Saver Choice | 2020-12-09 | 2021-01-09 | 31 | 121.53 | 121.05 | 1726 | 1942.3716 | 602.3716 | 1340 | 2328.3716 | 1761 | 32.22% | 1874.3714
Is customer on the correct Rate Plan? |  |  |  | Yes |  |  | Current Usage year | 10953.9888
Does the Solar System appear to be working correctly? |  |  |  | Yes |  |  | Estimated Production | 31115
Is the customer's usage higher than pre-solar? |  |  |  | No |  |  | Current Production/year | 8907.9888
[7 empty] | PVWatts year | 9262.0265
[7 empty] | % Diff | -3.822%

## PV Watts
TSP |  |  |  |  | ARRAY 1 | Month | Solar Radiation | AC Energy | Value | ARRAY 2 | Month | Solar Radiation | AC Energy | Value | ARRAY 3 | Month | Solar Radiation | AC Energy | Value | ARRAY 4 | Month | Solar Radiation | AC Energy | Value | ARRAY 5 | Month | Solar Radiation | AC Energy | Value | ARRAY | Month | Total | Daily |  | Adjusted Total | Adj Daily Total
customer |  |  |  |  | >>>>>>> |  |  |  |  | >>>>>>> |  |  |  |  | >>>>>>> |  |  |  |  | >>>>>>> |  |  |  |  | >>>>>>> |  |  |  |  | TOTALS
address | [5 empty] | January | 4.74 | 1952 | 234 |  | January | 3.35 | 141 | 17 |  | January |  |  |  |  | January |  |  |  |  | January |  |  |  |  | January | 2093 | 67.5161 | 31 | 1961.498 | 63.2741
pto date | [5 empty] | February | 5.63 | 2088 | 250 |  | February | 4.33 | 167 | 20 |  | February |  |  |  |  | February |  |  |  |  | February |  |  |  |  | February | 2255 | 80.5357 | 28 | 2113.3196 | 75.4757
contract date | [5 empty] | March | 6.74 | 2737 | 327 |  | March | 5.66 | 241 | 29 |  | March |  |  |  |  | March |  |  |  |  | March |  |  |  |  | March | 2978 | 96.0645 | 31 | 2790.8939 | 90.0288
analysis type | [5 empty] | April | 7.72 | 2987 | 357 |  | April | 7.08 | 287 | 34 |  | April |  |  |  |  | April |  |  |  |  | April |  |  |  |  | April | 3274 | 109.1333 | 30 | 3068.2964 | 102.2765
lessor | [5 empty] | May | 8.07 | 3149 | 377 |  | May | 7.87 | 321 | 38 |  | May |  |  |  |  | May |  |  |  |  | May |  |  |  |  | May | 3470 | 111.9355 | 31 | 3251.9819 | 104.9026
tot # panels | 53 | 53 | << check sum |  |  | June | 8.16 | 3003 | 359 |  | June | 8.2 | 315 | 38 |  | June |  |  |  |  | June |  |  |  |  | June |  |  |  |  | June | 3318 | 110.6 | 30 | 3109.5319 | 103.6511
system size (DC) | 17490 | 17490 | << Kw conv. |  |  | July | 7.43 | 2836 | 339 |  | July | 7.33 | 292 | 35 |  | July |  |  |  |  | July |  |  |  |  | July |  |  |  |  | July | 3128 | 100.9032 | 31 | 2931.4695 | 94.5635
inverter type (AC) | 15200 |  |  |  |  | August | 7.22 | 2747 | 329 |  | August | 6.85 | 273 | 33 |  | August |  |  |  |  | August |  |  |  |  | August |  |  |  |  | August | 3020 | 97.4194 | 31 | 2830.2551 | 91.2986
dc/ac ratio | 1.1507 |  |  |  |  | September | 7.07 | 2619 | 313 |  | September | 6.11 | 237 | 28 |  | September |  |  |  |  | September |  |  |  |  | September |  |  |  |  | September | 2856 | 95.2 | 30 | 2676.5591 | 89.2186
panel type | 330 |  |  |  |  | October | 6.17 | 2438 | 292 |  | October | 4.88 | 200 | 24 |  | October |  |  |  |  | October |  |  |  |  | October |  |  |  |  | October | 2638 | 85.0968 | 31 | 2472.256 | 79.7502
est. 1 yr prod | 31115 |  |  |  |  | November | 5.23 | 2057 | 246 |  | November | 3.74 | 152 | 18 |  | November |  |  |  |  | November |  |  |  |  | November |  |  |  |  | November | 2209 | 73.6333 | 30 | 2070.2098 | 69.007
| 2086 |  |  |  |  | December | 4.38 | 1832 | 219 |  | December | 3.03 | 130 | 16 |  | December |  |  |  |  | December |  |  |  |  | December |  |  |  |  | December | 1962 | 63.2903 | 31 | 1838.7287 | 59.3138
| 0.93717 |  |  |  |  | Annual | 6.55 | 30445 | 3642 |  | Annual | 5.7 | 2756 | 330 |  | Annual |  |  |  |  | Annual |  |  |  |  | Annual |  |  |  |  | Annual | 33201 |  |  | 31115
PV WATTS INFO
module type | always"Premium"
array type | USUALLY fixed roof / flush
system losses | 9-14%
inverter effic | always "98.5" | [5 empty] | Data Plugged In:
dc/ac ratio | #s from AMPS = (sys size)/(inverter). ALSO A FIELD IN PODIO | [5 empty] | MOD TYPE | premium
[7 empty] | ARRAY TYPE | mount
ARRAY 1 |  | 15.84 | << enter KW for DC System Size |  |  |  | SYS LOSS | 9
panels | 48 | 15840 | << sys size of this array |  |  |  | DC/AC | 1.15
tilt | 18 | [5 empty] | INV TYPE | 99
azimuth | 180
ARRAY 2 |  | 1.65 | << enter KW for DC System Size
panels | 5 | 1650
tilt | 18
azimuth | 270
ARRAY 3 |  | 0 | << enter KW for DC System Size
panels |  | 0
tilt
azimuth
ARRAY 4 |  | 0 | << enter KW for DC System Size
panels |  | 0
tilt
azimuth
ARRAY 5 |  | 0 | << enter KW for DC System Size
panels |  | 0
tilt
azimuth
array type | Mount will produce differently if there is air flowing under the panels
ROOF MOUNT | flush to roof (tilt should be the pitch of the roof)
OPEN | panel rows are spaced apart (usually tilted on a flat roof)
APS |  |  |  | Full Offset |  | Peak Shaver
before 8/31/17 |  | Net Metering |  | 0.15 |  | 0.1
9/1/17 - 9/30/18 |  | RCP |  | 0.129
10/1/18 - 8/31/19 |  | RCP |  | 0.1161
TEP
before 9/20/18 |  | Net Metering |  | 0.135
9/20/18 - present |  | Buyback |  | 0.0964